## Slide 1
Design of Coal Handling
System Control for Filling
Bunkers using PID Method
in Coal PLTU

## Slide 2
FINAL PROJECT MEETING
01
02
03
04
INTRODUCTION
RESEARCH METHODOLOGY
TEST RESULT
03
CONCLUSION

## Slide 3
INTRODUCTION

## Slide 4
BACKGROUND
Coal supply failures and errors have a fateful impact on the generating unit.
Part
Operate manually by the operator from the control room so that it is prone to human error.
Operation
The availability of coal in the bunker must be maintained for the combustion process
Condition
01
02
03
04
05
Field Conditions

## Slide 5
Formulation of the Problem
How is the PID method applied in the coal handling system design?
How is the performance of the coal handling control system from the device made?

## Slide 6
Purpose
Applying the use of the PID Method to the Coal Handling System at the Coal Power Plant to minimize human error
Protection and monitoring of actual bunker level conditions

## Slide 7
Benefit
Improve coal handling systems that exist in the industry
Increasing system reliability and effectiveness.
Minimize the occurrence of human error and increase the efficiency of existing work systems in the industry
01
02
03
Adding scientific insights about the coal handling system to the previous writing
04

## Slide 8
Limitation
This coal handling system is only used in Steam Power Plants
This coal handling system is only limited to design
01
02

## Slide 9
RESEARCH METHODOLOGY

## Slide 10
Flowchart sistem

## Slide 11
Flowchart emergency

## Slide 12
Mechanic
Keterangan :
Servo 4. Temperatur Sensor
Motor DC 5. Coal Plough
Ultrasonic Sensor 6. Conveyor
1
1
1
5
5
5
6
2
3
3
3
4
4
4

## Slide 13
Spesification of Conveyor
The length of the conveyor is 1000mm, so the length of
the conveyor belt is
L = 2 x ( + 2 x distance between puli
= 2 x () + 2 x X
= 2 x (3.14 x 8mm) + 2 x 1000mm
= 50.24mm + 2000mm
= 2050.24mm =125.025cm
The maximum mass in the conveyor belt is 1kg = 1000g

## Slide 14
Spesification of Motor
Motors that can be used on conveyors in the final project are permanent magnet motors with the following
specifications
Supply voltage rating = 24VDC
Current = 3 A
Maximum RPM = 600 rpm
Motor power constant in HP = 5252
So :
Daya = V x I = 24V x 3A
= 72 W
= 0.0965 HP
Torsi =
=
=
= 0.845 Nm

## Slide 15
TEST RESULT

## Slide 16
Ultrasonic Sensor Testing
No | testing | Sensor (Cm) | ruler (Cm) | Error %
1 | 1 | 3.05 | 3 | 1.63
2 | 2 | 4 | 4 | 0
3 | 3 | 5.12 | 5 | 2.34
4 | 4 | 6.03 | 6 | 0.49
5 | 5 | 7.01 | 7 | 0.14
6 | 6 | 8 | 8 | 0
7 | 7 | 9.07 | 9 | 0.77
8 | 8 | 10.01 | 10 | 0.1
9 | 9 | 11 | 11 | 0
10 | 10 | 12.05 | 12 | 0.41
A. Error |  |  |  | 0.588

## Slide 17
DS18B20 Sensor Testing
No | Testing | Sensor (Celcius) | Thermometer (Celcius) | Error %
1 | 1 | 31,5 | 31,5 | 0
2 | 2 | 33,2 | 33,2 | 0
3 | 3 | 34,6 | 34,0 | 1,76
4 | 4 | 37,5 | 37,2 | 0,8
5 | 5 | 58,2 | 58,0 | 0,34
6 | 6 | 62,5 | 62,2 | 0,48
7 | 7 | 78,2 | 78,0 | 0,25
8 | 8 | 81,6 | 81,5 | 0,12
9 | 9 | 90,5 | 90,0 | 0,56
10 | 10 | 98 | 98 | 0
A. Error |  |  |  | 0,43

## Slide 18
Servo Sensor Testing
No | Testing | Servo | arc | Error (%)
1 | 1 | 16° | 15° | 6.25
2 | 2 | 20° | 20° | 0
3 | 3 | 31° | 30° | 3.22
4 | 4 | 45° | 45° | 0
5 | 5 | 50° | 50° | 0
6 | 6 | 75° | 75° | 0
7 | 7 | 90° | 90° | 0
8 | 8 | 132° | 130° | 1.51
9 | 9 | 151° | 150° | 0.6
10 | 10 | 180° | 180° | 0
A. Error |  |  |  | 1.15

## Slide 19
Coal Handling System Testing
Distance | PWM | Figure
11.32 cm | 771 | 
10.06 cm | 658 | 

## Slide 20
Protection System Testing
Tank Sensor | Temperature (°C) | Condition System
1 | 30.25°C | On
 | >60°C | Off
2 | 29.31°C | On
 | >60°C | Off
3 | 29.81°C | On
 | >60°C | Off

## Slide 21
Thank you